{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["投标报价清单","Sheet3"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"投标报价清单","index":0,"n_rows":19,"n_cols":8,"rows_kept":19,"merged":[[0,0,0,7],[1,0,1,7],[17,5,17,7]],"flags":["formulas_cached_only"]}
["星海音乐学院（沙河校区）学生公寓智能防火疏散门项目"]
["投标报价清单"]
[{"$nulls":7},"单位：元"]
["序号","项目名称","型号规格       ","计量   单位","计量    数量","综合单价","金额（元）","备注"]
[1,"防火门","单门、乙级","镗",7,null,null,"门禁型"]
[2,"防火门","双门、乙级","镗",5,null,null,"门禁型"]
[3,"门禁锁","DC24V/电磁","套",12]
[4,"管线敷设","综合","项",1]
[5,"控制模块","海湾","个",2,null,null,"与消防主机联动用"]
[6,"调试费用",null,"项",1]
[7,"旧门拆除",null,"镗",12]
["A","小计"]
["B","税金"]
["C","投标报价","A+B"]
[]
[]
[{"$nulls":5},"投标单位："]
[]
[{"$nulls":5},"投标日期："]

{"sheet":"Sheet3","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}